## Data
PI | Geoff Stupple |  |  | * REQUIRED
Contact Email | geoff.stupple@ec.gc.ca |  |  | * REQUIRED
Project | MERCURY |  |  | * REQUIRED
Site | MPN |  |  | * REQUIRED
Platform
Instrument Common Name | DMA |  |  | * REQUIRED
Instrument Model #
Instrument/Data Description | Mercury analyzer |  |  | * REQUIRED
Data Level |  | 1 |  | * REQUIRED
Dataset Label | TPM |  |  | * REQUIRED
Data Timezone | GMT |  |  | * REQUIRED
PC Timezone | GMT
timestamp = start or end? | Start Time |  |  | * REQUIRED
How to calc start/end
Data Source | file
Data Set Start Date | 2024-01-01 |  |  | * REQUIRED
Data Set End Date
Instrument Code | TGM |  |  | * REQUIRED
Suffix
Primary Delimiter | comma
L0 Data Freq | variable
L1 Data Freq
Primary Timestamp |  |  |  |  | y
Data Column | Kit Number | Sample Start | Sample End | Sample 1 Total Mass | Sample 2 Total Mass | Sample Average Mass | Blank Total Mass
Plot Label
Units | [5 empty] | g |  | g | [7 empty] | ng | ug/kg
For Primary Key |  |  |  |  | Yes
Raw File Sequence | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
v0 Sequence | 0 | 1 | 2 | 6 | 7 | 8 |  | 9 |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 3 | 4 | 5
v1 Sequence
v2 Sequence
Variable Name | num | pos | smpnm | crt_dt | proc_dt | amnt |  | conc_amt |  | extr_type | state | cal_file | meth_file | pk_ht | cell | hg | conc |  | dil_wt | fin_vol | cal_fac | dil_fac | stat | grp | rem | smpid | kitid | smptyp
Column Species | num | num | text | dt | dt | num | nd | num | nd | text | text | text | text | num | num | num | num | nd | num | num | num | text | text | text | text | text | text | text
PostgreSQL Data Type | numeric | numeric | text | timestamp with time zone | timestamp with time zone | numeric |  | numeric |  | text | text | text | text | numeric | numeric | numeric | numeric |  | numeric | numeric | numeric | text | text | text | text | text | text | text
User Edit
Primary Plot Data
QC Unit | [18 empty] | 3: [smpid]_[varchar]; 4: [8char]_[kitid]_[varchar]; 5: [8char]_[7char]_[varchar]_[yy]_[Q#]_[smptyp]#
Source | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file | file
Calc
| Nr | Pos | SampleName | CreationDate | ProcessTime | Amount | Unit | ConcentrateAmount | Unit | Type | State | CalFile | MethodFile | Height | Cell | Hg [ng] | Concentration | Unit | DilutionWeight | FinalVolume | CalFactor | DilutionFactor | Statistics | Group | Remark
| 1 | 1 | 10ng on C | 2025-06-10-14-07-27 | 2025-06-10-14-03-16 | 0.1008 | g | 0.1008 | g | normal | finished | Calibration_Carbon 2025-05-16 SK.c80 | 570Carbon.m80 | 0.5092 | 1 | 10.2576 | 101.7621 | µg/kg | 20: 1; 24: start of stability test
| 63 | 11 | na2co3+di | 2025-06-13-10-59-20 | 2025-06-13-11-43-46 | 1 | g | 1 | g | normal | finished | Calibration_Carbon 2025-06-12 SK.c80 | 570Carbon.m80 | 0.0028 | 1 | 0.1025 | 0.1025 | µg/kg | bar: 20
| 64 | 12 | ECCC1330_EC-1200_Szrenica_25_Q1_B1 | 2025-06-13-12-26-37 | 2025-06-13-12-11-53 | 0.3279 | g | 0.3279 | g | normal | finished | Calibration_Carbon 2025-06-12 SK.c80 | 570Carbon.m80 | 0.0165 | 1 | 0.3808 | 1.1613 | µg/kg | bar: 20
| 65 | 15 | ECCC1330_EC-1200_Szrenica_25_Q1_B2 | 2025-06-13-12-31-01 | 2025-06-13-12-21-53 | 0.2831 | g | 0.2831 | g | normal | finished | Calibration_Carbon 2025-06-12 SK.c80 | 570Carbon.m80 | 0.0165 | 1 | 0.3821 | 1.3498 | µg/kg | bar: 20
| 66 | 16 | ECCC0214_EC-1200_Szrenica_25_Q1_S1 | 2025-06-13-12-35-52 | 2025-06-13-12-32-44 | 0.2765 | g | 0.2765 | g | normal | finished | Calibration_Carbon 2025-06-12 SK.c80 | 570Carbon.m80 | 0.3868 | 1 | 8.633 | 31.2223 | µg/kg | bar: 20
| 67 | 17 | ECCC0214_EC-1200_Szrenica_25_Q1_S2 | 2025-06-13-12-38-32 | 2025-06-13-12-43-35 | 0.3445 | g | 0.3445 | g | normal | finished | Calibration_Carbon 2025-06-12 SK.c80 | 570Carbon.m80 | 0.5207 | 1 | 12.057 | 34.9985 | µg/kg | bar: 20
Notes
sampler ID refers to the actual blue plastic sampler parsed out from first 8 char of sample name
kit ID refers to the kit of 2 samplers and a blank sampler sent out to a site, parsed out from between 1st and 2nd underscores
each sampler has 2 runs, which produce a measured mercury mass each, those are summed and passed to the v1 table
process time is the unique key since no two processes will ever occur at the same time
sample type is parsed from the sample name; after 5th underscore, either S, B or null (for instrument QC runs)
Note on B1: from qc_staff list
Note on B3: from project list
Note on B4: from site list
Note on B6: Instrument Label
Note on B9: Select Levels
Note on C9: Select Level
Note on D9: Select Level
Note on B11: Select From Drop Down List
Note on B19: Maximum 1 Char
Note on B20: For Raw Files
Note on B21: For Raw Files

## Example
Instrument PI Name | Papa Smurf |  |  | * REQUIRED
Contact Email | dad.Smurf@smurf.ca |  |  | * REQUIRED
Project | EPCAPE |  |  | * REQUIRED
Site | MSD |  |  | * REQUIRED
Platform
Instrument Common Name | SOLO |  |  | * REQUIRED
Instrument Model #
Instrument/Data Description | Temperature controller; reports set temperature and actual temperature |  |  | * REQUIRED
Data Level | 0 |  |  | * REQUIRED
Dataset Label | MYDATA_A |  |  | * REQUIRED
Data Timezone | GMT |  |  | * REQUIRED
PC Timezone | GMT
timestamp = start or end? | End Time |  |  | * REQUIRED
How to calc start/end
Data Source
Data Set Start Date | 2023 |  |  | * REQUIRED
Data Set End Date
Instrument Code | MYDATA |  |  | * REQUIRED
Suffix | A
Primary Delimiter | comma
L0 Data Freq | 1 sec
L1 Data Freq
Serial DaQ | 115200 baud, null cable, DB9 M
Primary Timestamp | Y
Data Columns | Computer Time | id | Setpoint | Temperature | OutValue | ozone | chamberTemp | Instrument time | Date | Time | custom_date_time
Plot Label |  |  | SetPoint | TEMP | OUT | O3 | chamberTemp
Units | YYYY-MM-DD HH:MM:SS |  | C | C | g/m3 | ppb | C | YYYY-MM-DDTHH:MM:SS.mmm | YYYY-MM-DD | HH:MM:SS
For Primary Key | Yes
Raw File Sequence | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
v0 Sequence | 0 |  | 1 | 2 | 3 | 4 | 5 |  |  |  | 6
v1 Sequence | 0 |  |  | 1 | 2 | 3 | 4 |  |  |  | 5
v2 Sequence | [5 empty] | 1
Variable Name | pc_dt |  | sp | tempint | out | o3 | tempint | inst_dt |  |  | mydatetime
Column Species | dt |  | num | num | num | num | num | dt |  |  | dt
PostgreSQL Data Type | timestamp with time zone |  | int | numeric | numeric | numeric | numeric | timestamp with time zone |  |  | timestamp with time zone
User Edit
Primary Plot Data
QC Unit | MYDATA_A |  | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A | MYDATA_A
Source
Calc | [10 empty] | Date + Time
| 2023-05-30 | Catalyst | 40.0 | 40.0 | 21.0 | 21.0 | 30.0763 | 20230530T000341.555 | 2023-05-29 | 20:03
| 2023-05-30 | Int_Std_Oven | 40.0 | 39.9 | 86.2 | 86.2 | 30.0701 | 20230530T000342.552 | 2023-05-29 | 20:03
| 2023-05-30 | Acetate_Oven | 80.0 | 3277.1 | 0.0 | 0.0 | 30.0732 | 20230530T000343.564 | 2023-05-29 | 20:04
| 2023-05-30 | CH3I_Oven | 40.0 | 39.9 | 21.9 | 21.9 | 30.0732 | 20230530T000344.548 | 2023-05-29 | 20:04
| 2023-05-30 | Catalyst | 40.0 | 40.0 | 21.0 | 21.0 | 30.067 | 20230530T000345.555 | 2023-05-29 | 20:04
| 2023-05-30 | Int_Std_Oven | 40.0 | 39.9 | 86.2 | 86.2 | 30.0701 | 20230530T000346.567 | 2023-05-29 | 20:05
Notes
Note on B1: from qc_staff list
Note on B3: from project list
Note on B4: from site list
Note on B6: Instrument Label
Note on B9: Select Levels
Note on C9: Select Level
Note on D9: Select Level
Note on B11: Select From Drop Down List
Note on B12: Select From Drop Down List
Note on B19: Maximum 1 Char
Note on B20: For Raw Files
Note on B21: For Raw Files
Note on B27: Follow the data type form: yyyy-mm-dd hh:mm:ss

## Flags
Flags & Alerts
| Alarm | Definition | Instrument Flag (informational) | QC Flag (Invalidating)
** Note: QC Flags must use standardized flags. Instrument flags can be any string (less then 16 chars)
** Note: Definitions must be relative to the current data row content only

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only